## PARTRESULT
Part Number | Part Description | Status | Reference | Price
0160-4232 | NFTS Capacitor-Fixed 0.047uF +-5PCT 50V polycarbonate metallized THT | Not orderable, Contact Keysight for repair service
0160-5898 | Capacitor-Fixed 1.7pF +-5.88PCT 200V Ceramic C0G THT | Obsolete
0160-6207 | NFTS Capacitor-Fixed 1uF +-5PCT 50V polycarbonate metallized THT | Not orderable, Contact Keysight for repair service
0160-6986 | UTG CAP-FXD 82pF +-2pct 630 V POLYP-FL, Protected Supply | Available Until Gone | Replaced By - 0161-4112 | GBP 1.94
0160-6990 | NFTS Capacitor-Fixed | Not orderable, Contact Keysight for repair service
0160-6995 | NFTS Capacitor-Fixed | Not orderable, Contact Keysight for repair service
0160-7610 | Capacitor-Fixed 1pF +-10pct 500 V CER C0G, Protected Supply | Obsolete | Replaced By - 5969-5480
0161-1404 | NFTS Capacitor-Fixed 22pF +-20PCT 3000V Ceramic THT | Not orderable, Contact Keysight for repair service
0161-2199 | ; Mod and Ser Nbr Reqd Capacitor-Fixed 2.2uF +-20PCT 50V Ceramic Z5U THT | Not orderable, Contact Keysight for repair service | Replaced By - CONTACT-PARTID
0161-4112 | NFTS Capacitor-Fixed 82pF +-2PCT 630V metallized polypropylene THT | Not orderable, Contact Keysight for repair service
0180-3898 | NFTS Capacitor-Fixed 8300uF +75-10PCT 35V aluminium electrolytic THT | Not orderable, Contact Keysight for repair service
03458-00106 | Chassis, Mainframe | Obsolete | Replaced By - 03458-60100
03458-00607 | Shield, A/D W/Standoffs | Orderable | Replaced By - 03458-60210 | GBP 11.16
03458-04101 | Cvr top SN2823A21099 | Obsolete | Replaced By - 03458-60210
03458-04102 | CvrBtm SN2823A21099 | Obsolete | Replaced By - 03458-60210
03458-04121 | NFTS Cover-Top | Not orderable, Contact Keysight for repair service
03458-04122 | NFTS Cover-Bottom | Not orderable, Contact Keysight for repair service
03458-04702 | Plate, Front Terminal | Orderable |  | GBP 4.15
03458-04703 | Filter/Spacer-Fan | Orderable |  | GBP 4.98
03458-24701 | Standoff, Male/Female Hex | Orderable |  | GBP 6.20
03458-40202 | Frt Pnl Sub Assy | Obsolete | Replaced By - 03458-40212
03458-40212 | Front Panel Sub Assembly | Orderable |  | GBP 66.98
03458-40214 | Key cap, white, serial number 2823A21100 and above | Orderable |  | GBP 4.98
03458-40215 | Key cap, grey, serial number 2823A21100 and above | Orderable |  | GBP 4.98
03458-43701 | Pushrod on/off Front rear | Orderable |  | GBP 6.20
03458-43702 | Pushrod Guard | Orderable |  | GBP 4.87
03458-44103 | Cap Lk SN2823A21099 | Obsolete | Replaced By - 03458-44113
03458-44105 | UTG Ins Term SN2823A21099x | Available Until Gone | Replaced By - 03458-44115 | GBP 2.57
03458-44113 | Cap Locking SN2823A21100 | Orderable |  | GBP 4.06
03458-44115 | Terminal-Insulator | Orderable |  | GBP 4.98
03458-47901 | Bzl Rear SN 2823A21099 | Orderable |  | GBP 73.06
03458-47911 | Bezel Rear SN2823A21100 | Orderable |  | GBP 52.36
03458-49321 | UTG Win FT Pnl Flint Grey | Available Until Gone | Replaced By - 03458-49331 | GBP 19.28
03458-49331 | Window, Front Panel | Orderable |  | GBP 16.24
03458-60100 | Chassi Kit | Orderable |  | GBP 528.00
03458-60201 | Svc Kt SN2823A21099 and below | Obsolete | Replaced By - 03458-60211
03458-60210 | Button-Up Kit New Color | Orderable |  | GBP 468.00
03458-60211 | Svr Kt SN 2823A21100 | Orderable |  | GBP 646.00
03458-61601 | NFTS 20-pin Cable Assembly | Not orderable, Contact Keysight for repair service
03458-61603 | Fiber Optic Cable Assembly | Orderable |  | GBP 25.37
03458-61605 | Cable Assembly, 26P Front Panel - Serial No.2823A03200 | Obsolete
03458-61611 | Cable Assembly | Orderable |  | GBP 24.35
03458-61624 | NFTS Cable Assembly-Coaxial | Not orderable, Contact Keysight for repair service
03458-61625 | Coaxial Cable Assembly | Orderable |  | GBP 56.83
03458-61629 | NFTS; Mod and Ser Nbr Reqd Test Lead Interconnect Cable 3458A | Not orderable, Contact Keysight for repair service
03458-61636 | Cable Assembly, Display | Orderable |  | GBP 7.94
03458-62101 | Tml Blk SN2823A21099, Protected Supply | Obsolete | Replaced By - 03458-62111
03458-62111 | Term BLK Assembly SN2823A21100 | Orderable |  | GBP 173.00
03458-66501 | TBR DC Circuitry | Orderable |  | GBP 2350.00
03458-66502 | AC Circuitry | Obsolete | Replaced By - 03458-66512
03458-66504 | PC Board Assemblies, Thru Hole | Orderable |  | GBP 194.00
03458-66505 | PC Board Assemblies, Thru Hole, Protected Supply | Obsolete | Refurbished - 03458-69505
03458-66507 | UTG PC Board Assemblies, Thru Hole | Obsolete | Replaced By - 03458-66527
03458-66509 | DCV Reference PCA | Orderable |  | GBP 463.00
03458-66510 | A10 Front/Rear Switch for the 3458A | Orderable |  | GBP 461.00
03458-66512 | TBR AC Circuitry | Orderable |  | GBP 1399.00
03458-66513 | TBR PCA-A D Ingrd LG | Orderable |  | GBP 1122.00
03458-66515 | Exch Avail See 03458-69515 Cntlr W/X Mem | Obsolete | Refurbished - 03458-69515
03458-66516 | Outgd.Pwr Supply | Orderable |  | GBP 742.00
03458-66517 | PC Board Assembly | Obsolete | Refurbished - 03458-69517
03458-66527 | NFTS PC Board Assembly | Not orderable, Contact Keysight for repair service
03458-66529 | PC Assembly-DC REF Tested 2 PPM | Orderable |  | GBP 1657.00
03458-66530 | NFTS Daughter board for 03458-66513 PCA | Not orderable, Contact Keysight for repair service
03458-66531 | NFTS PCA, Daughter Board for A2 board | Not orderable, Contact Keysight for repair service
03458-66547 | TBR PCA, Outguard with standard memory | Orderable |  | GBP 440.00
03458-66548 | TBR PCA, outguard with extended memory | Orderable |  | GBP 683.00
03458-67902 | NFTS Term asy SN2823A21099x, Protected Supply | Obsolete | Replaced By - 03458-67912
03458-67912 | Fuse Holder SN2823A21100 | Orderable |  | GBP 38.97
03458-68501 | Fan Assembly | Orderable |  | GBP 74.08
03458-69501 | NFTS; TBR DC Input Assembly, Restored -66501, exch | Not orderable, Contact Keysight for repair service | New - 03458-66501
03458-69502 | NFTS; TBR AC converter Exch | Not orderable, Contact Keysight for repair service | New - 03458-66512
03458-69503 | NFTS; TBR PCA-A D Ingrd LG, Restored 03458-66513, exch | Not orderable, Contact Keysight for repair service | Refurbished - 03458-66513
03458-69505 | NFTS; UTG Exch -66505 Outguard Logic PCA | Obsolete | Replaced By - 03458-69547
03458-69506 | RSTRD 03458-66516 Outgd. Power Sup | Obsolete | Refurbished - 03458-66516
03458-69515 | NFTS RSTRD -66515 Cntlr W/X Mem, Protected Supply | Obsolete | Replaced By - 03458-69548
03458-69517 | NFTS; TBR Refurbished A17 PCA, Display Logic,Exch | Not orderable, Contact Keysight for repair service | New - 03458-66517
03458-69547 | NFTS; TBR Refurbished A5 PCA, Outguard With Standard Memory ,exch | Not orderable, Contact Keysight for repair service | New - 03458-66547
03458-69548 | NFTS; TBR Refurbished A15 PCA, Outguard With Extended Memory,exch | Not orderable, Contact Keysight for repair service | New - 03458-66548
03458-80003 | Kt-HI Stability ref | Orderable |  | GBP 743.00
03458-80021 | ROM Upgrade Kit Rev 8 | Obsolete | Replaced By - 03458-80023
03458-80022 | ROM Upgrade Kit, CIIL, Rev 8 | Orderable |  | GBP 62.92
03458-80023 | ROM Upgrade Kit Rev 9 | Orderable |  | GBP 178.00
03458-80047 | Update Kit for std 3458A A5 assembly | Orderable |  | GBP 448.00
03458-80048 | Kit for opt 001 3458A A5 assembly | Orderable |  | GBP 762.00
03458-81902 | Kypd SN2823A21099 | Orderable |  | GBP 30.44
03458-82510 | NFTS N-Channel Junction Field effect Transistor | Not orderable, Contact Keysight for repair service
03458-84302 | Lb rr pL SN2823A21099 | Orderable |  | GBP 9.57
03458-84303 | UTG Extra Keyboard Overlays 5 each | Available Until Gone | Replaced By - 03458-84313 | GBP 9.04
03458-84311 | LABEL-FRONT PANEL/quartz gray | Orderable |  | GBP 26.38
03458-84312 | Label Rear PNL SN2823A21100 | Orderable |  | GBP 26.38
03458-84313 | Label Keyboard Overlay SN2823A21100 | Orderable |  | GBP 36.53
03458-84325 | Label, Warning | Orderable |  | GBP 0.97
03458-87901 | Extended Memory Kit- Original Thruhole | Orderable |  | GBP 747.00
03458-87902 | Extended Memory Kit- New SMT | Orderable |  | GBP 497.00
03458-88808 | NFTS Programmable Array Logic-1818-8962 For Option 001 | Not orderable, Contact Keysight for repair service
03458-88809 | Prgmd Pal-1819-0239 For Std | Orderable |  | GBP 12.93
03458-88810 | Prgmd Pal-1819-0239 For 001 | Orderable |  | GBP 18.90
03458-88816 | PRGMD Pal | Orderable |  | GBP 18.27
03458-88897 | IC EPROM rev 9, Protected Supply | Orderable |  | GBP 19.48
03458-90033 | Mnl-Comp Level Inform Packet | Orderable |  | GBP 144.00
03458-90101 | MNL Set 3458A English | Orderable |  | GBP 97.42
03458-91000 | PC ASSY A2 OPT H01 Factory Repair Only | Obsolete
0360-1917 | Terminal-Stud SPCL-FDthru PRESS-MTG | Orderable |  | GBP 4.01
0380-1677 | Standoff-HEX Male-Female M3X0.5 6mm-A/F 32mm-LG SST Passivated | Orderable |  | GBP 4.98
0390-0006 | Insulator-Flange-Bushing Nylon | Orderable |  | GBP 1.04
0490-1659 | Mod and Ser Nbr Reqd Relay, 1Uv Reed, Protected Supply | Limited Supply - Contact Keysight |  | GBP 24.35
0490-1704 | NFTS; Mod and Ser Nbr Reqd Relay-Reed 1A 1A 500Vdc 5Vdc-Coil 10Va, Protected Supply | Not orderable, Contact Keysight for repair service
0490-1705 | Mod and Ser Nbr Reqd Relay-Reed 1A 1Amp 500Vdc 5VDC-Coil 10VA, Protected Supply | Limited Supply - Contact Keysight |  | GBP 43.64
0490-2788 | NFTS RELAY-REED 1A 500MA 200VAC 5VDC-COIL | Not orderable, Contact Keysight for repair service
0515-0367 | Screw-Machine W/Crest-Cup-Washer Pan-HD Torx-T8 M2.5X0.45 8mm-LG SST-300 Passivated | Orderable |  | GBP 1.04
0515-1404 | Screw-Machine Pan-HD Torx-T15 M4X0.7 55mm-LG SST-302 Passivated | Orderable |  | GBP 3.98
0624-0445 | Screw-Tapping 4-20 .5-in-LG Pan-HD-POZI CARB | Orderable |  | GBP 1.25
0624-0681 | Screw-Tapping 4-20 .25-in-LG Pan-HD-TORX T10 | Orderable |  | GBP 6.39
0624-0681C | Screw #4.20X.25 | Obsolete | Replaced By - 0624-0681
0624-1053 | Screw-Tapping 8-16 .375-in-LG Pan-HD-TORX | Orderable |  | GBP 1.04
0698-8066 | Resistor-Fixed 1K Ohm +-0.01PCT 0.15W TC+-1.3 metal Foil THT | Obsolete
0698-8737 | Mod and Ser Nbr Reqd Resistor 100K +-5pct .25W CC TC is -400/+800, Protected Supply | Limited Supply - Contact Keysight |  | GBP 1.04
0699-1627 | Resistor-Fixed 9 Ohm +-0.1PCT 0.125W TC+-10 thin film THT | Obsolete
0699-1980 | Resistor-Fixed 900K Ohm +-0.1PCT 0.125W TC+-25.0 metal film0207 THT | Orderable |  | GBP 0.97
0699-2426 | NFTS Resistor-Fixed 3K Ohm +-0.5PCT 0.3W TC+-1.3 metal Foil THT | Not orderable, Contact Keysight for repair service
0811-3968 | Resistor-Fixed 1 Ohm +-1PCT 3W TC+-10 PWI THT | Orderable |  | GBP 3.88
0950-1904 | Converter DC-DC Module 4.5-5.5V input 27.5V output 0.015A THT | Orderable |  | GBP 25.37
1200-1043 | NFTS Socket-Marker Strip 25.4 mm Long 10.0 mm Wide | Obsolete
1205-0318 | Heat sink Spring-Clip 1.000-in-LG 0.350-in-Wide 0.750-in-HT Al Alloy Black anodized-finish | Orderable |  | GBP 4.06
1251-0216 | Connector-D-Subminiature Header 9-POS | Orderable |  | GBP 5.93
1251-6041 | Connector-Receptacle through-hole 5-Pin 2.54mm 250.0V 2.5A 1-Row | Orderable |  | GBP 4.15
1251-6583 | Connector-Header Vertical through-hole 6-Pin 3.96mm 7A 1-Row | Orderable |  | GBP 8.65
1420-0885 | Battery Li-Ion 3V 120mAh | Orderable |  | GBP 37.55
1460-1311 | NFTS Stamping Be-Cu Spring-LEAF | Not orderable, Contact Keysight for repair service
1810-1169 | NFTS Network-Resistor 4 5K Ohm +-1PCT 0.1W thin film 6-PIN THT | Not orderable, Contact Keysight for repair service
1810-1170 | NFTS Network-Resistor 2 100K Ohm +-1PCT 0.1W thin film 9-PIN THT | Not orderable, Contact Keysight for repair service
1818-4333 | IC Sram, Protected Supply | Orderable |  | GBP 24.35
1818-4335 | NFTS IC 16K-bit SRAM 150ns CMOS 24-PDIP | Not orderable, Contact Keysight for repair service
1818-4336 | IC SRAM 256K-BIT 150NS CMOS 28-DIP | Orderable |  | GBP 86.26
1818-4441 | Integrate Circuit SRAM | Orderable |  | GBP 39.58
1818-5231 | NFTS IC 1M-bit SRAM 45ns CMOS 32- SOIC | Not orderable, Contact Keysight for repair service
1820-2470 | NFTS IC ASYNCHRONUS communications Interface, Protected Supply | Not orderable, Contact Keysight for repair service
1820-4675 | IC Encoder CMOS/HC PRIORITY 8-TO-3-Line 16- DIP | Orderable |  | GBP 1.04
1826-1817 | UTG IC Comparator HS 8 Pin DIP-P, Protected Supply | Obsolete | Replaced By - 5969-5447
1826-1859 | IC OP AMP H-SLEW-Rate 14 Pin DIP-P, Protected Supply | Obsolete | Replaced By - 5063-1448
1826-1970 | NFTS IC OP AMP High Speed bipolar 8 DIP | Not orderable, Contact Keysight for repair service
1826-3136 | NFTS IC OP AMP JFET single 8 DIP | Not orderable, Contact Keysight for repair service
1853-0083 | Transistor-dual PNP TO-78 PD-0.6W, Protected Supply | Obsolete | Replaced By - 5041-6220
1853-0676 | NFTS Transistor | Not orderable, Contact Keysight for repair service
1853-0700 | NFTS; Mod and Ser Nbr Reqd Transistor, Protected Supply | Not orderable, Contact Keysight for repair service
1900-0233 | Diode-Schottky BVR-70V IF-0.15A 0.43W DO-35 THT | Orderable |  | GBP 1.04
1901-1068 | NFTS; Mod and Ser Nbr Reqd Diode Schottky SM SIG BVR 8.0V, Protected Supply | Not orderable, Contact Keysight for repair service
1902-0956 | NFTS Diode-Zener Vz-8.2V +-5PCT Iz-0.015A Zz-6.5 Ohm IR-50uA PD-0.4W DO-35 | Not orderable, Contact Keysight for repair service
1902-1400 | Mod and Ser Nbr Reqd Diode-Zener 1N5244 14V 2PCT DO-35 PD-.5W, Protected Supply | Limited Supply - Contact Keysight |  | GBP 1.25
1970-0603 | Tube-Electron | Orderable |  | GBP 10.15
1NC1-0017 | NFTS IC-ASIC, D Hybrid P | Not orderable, Contact Keysight for repair service
2090-0217 | NFTS; Mod and Ser Nbr Reqd Front Panel Display | Not orderable, Contact Keysight for repair service
2190-0432 | Washer-Lock helical 0.322-in-ID 0.562-in-OD 0.059-in-THK Steel Zn plated | Orderable |  | GBP 4.06
3050-0893C | Washer FL MTLC | Obsolete | Replaced By - 3050-0893
3160-0483 | Fan-Guard Steel | Orderable |  | GBP 4.06
3160-4115 | Fan-Filter | Orderable |  | GBP 22.33
34132-37905 | Standard test lead set | Obsolete | Replaced By - 34137-37904
5020-0189 | Board-Blank, Test | Orderable |  | GBP 63.93
5041-0267 | Key, Quarter, Protected Supply | Orderable |  | GBP 5.48
5041-1590 | Topcap,Bdg Post | Orderable |  | GBP 3.98
5041-6220 | Mod and Ser Nbr Reqd Transistor-Dual PNP TO-78 PD - 600M, Protected Supply Of 1853-0083 | Limited Supply - Contact Keysight |  | GBP 12.18
5041-6224 | Mod and Ser Nbr Reqd XSTR J-Fet 2N439, Protected Supply | Limited Supply - Contact Keysight |  | GBP 2.08
5063-1410 | NFTS; Mod and Ser Nbr Reqd IC INTERFACE DRVR CMOS DISPLAY ,Protected Supply Of 1820-5286 | Not orderable, Contact Keysight for repair service
5063-1422 | Mod and Ser Nbr Reqd IC INTERFACE DRVR CMOS DISPLAY ,Protected Supply Of 1820-5287 | Limited Supply - Contact Keysight |  | GBP 9.47
5063-1423 | Mod and Ser Nbr Reqd TRANSISTOR ARRAY 16-PIN PLSTC DIP ,Protected Supply Of 1858-0048 | Limited Supply - Contact Keysight |  | GBP 1.94
5063-1448 | NFTS; Mod and Ser Nbr Reqd IC OP AMP H-SLEW-RATE 14 PIN DIP-P ,Protected Supply Of 1826-1859 | Not orderable, Contact Keysight for repair service
5180-0409 | Spring Clip | Orderable |  | GBP 5.67
5185-6785 | IC-ASIC, Protected Supply Of 1820-5770 | Obsolete
5185-6796 | ; Mod and Ser Nbr Reqd IC-Linear 711AH, Protected supply of 1826-3270 | Limited Supply - Contact Keysight | Replaced By - CONTACT-PARTID | GBP 0.97
5188-4484 | NFTS; Mod and Ser Nbr Reqd CAP-FXD 2.2UF +-20PCT 50V CER Z5U THT, Protected Supply Of 0160-0128 | Not orderable, Contact Keysight for repair service
5950-0614 | NFTS N-Channel Depletion Mode Junction Field Effect Transister | Not orderable, Contact Keysight for repair service
5955-8300 | NFTS; Mod and Ser Nbr Reqd IC Comparator Quad 16 PIN DIP-P, Protected Supply Of 1826-1370 | Not orderable, Contact Keysight for repair service
5969-5447 | ; Mod and Ser Nbr Reqd IC COMPARATOR HS 8 PIN DIP-P, Protected Supply of 1826-1817 | Not orderable, Contact Keysight for repair service | Replaced By - CONTACT-PARTID
5969-5480 | NFTS; Mod and Ser Nbr Reqd CAP-FXD 1PF +-10PCT 500 V CER C0G, Protected Supply Of 0160-7610 | Not orderable, Contact Keysight for repair service
5969-5495 | NFTS; Mod and Ser Nbr Reqd D/A 12-BIT 18-Plastic CMOS, Protected Supply Of 1826-1818 | Not orderable, Contact Keysight for repair service
5971-5913 | Label, Voltage Setting | Orderable |  | GBP 0.97
7120-3528 | Label-Warning .6-in-Wide 1.8-in-LG PVC | Orderable |  | GBP 0.97
7121-5390 | NFTS Label-Tamper Proof Seal 0.75-in-DIA destructible Vinyl | Not orderable, Contact Keysight for repair service
8120-4323 | JMPR-Assembly 22-AWG 1-COND 150-mm-LG | Orderable |  | GBP 4.15
8120-4328 | JMPR-Assembly 22-AWG 1-COND 150-mm-LG | Orderable |  | GBP 4.15
8120-5198 | JMPR-Assembly 22-AWG 1-COND 200-mm-LG | Orderable |  | GBP 4.15
8120-5199 | JMPR-Assembly 22-AWG 1-COND 325-mm-LG | Orderable |  | GBP 4.06
8120-5200 | JMPR-Assembly 22-AWG 1-COND | Orderable |  | GBP 4.15
8120-5441 | Cable with Coil | Orderable |  | GBP 9.44
8120-5541 | Cable Assembly Status To Processor | Orderable |  | GBP 15.22
9100-4715 | Transformer-Power 100/120/220/240V 47.5-444 Hz 3 | Orderable |  | GBP 255.00
9135-0167 | Filter-Line 250-V MAX 3-AMP, Protected Supply | Obsolete
9135-5773 | Filter-Line 250-V MAX 3-A | Orderable |  | GBP 12.18
9140-1062 | Inductor-Fixed 61uH +20/-12PCT THT, Protected Supply | Orderable |  | GBP 5.78
9170-2412 | Inductor-Core-Magnetic THT | Orderable |  | GBP 1.99
9230-0333 | NFTS Envelope-calibration certificate (241.3 mm x 317.5 mm) | Not orderable, Contact Keysight for repair service
9320-6314 | NFTS Certificate of Calibration-QA-Inspection-Calibration | Not orderable, Contact Keysight for repair service