E4418B

Modification Recommended

[E4418B-20](https://keysightsales--c.na158.content.force.com/sfc/dist/version/download/?oid=00D1a000000awb5&ids=0685a00000OMCyJ&d=%2Fa%2F5a000001AQJY%2FfJaJn7V.GJoDR_EL6ExBleXrNgT07ldEXMrF1chaQuM&asPdf=true) Hot plugging problem caused by analog switches (U11) under the measurement board assembly (E4418-60007) 04/29/2008

[E4418B-23](https://keysightsales--c.na158.content.force.com/sfc/dist/version/download/?oid=00D1a000000awb5&ids=0685a00000OMDA5&d=%2Fa%2F5a000001AQVP%2F6xgBQH5C6Is30H88WGmj1iihBLXj7TQrxtcGjV_n10o&asPdf=true) Calibrations performed on some Single/Dual-Channel Power Meters by Agilent Technologies between February 6th, 2012 and February 6th, 2014 show a pass in the OUTPUT SWR; OUTPUT SWR(REAR PANEL) test, even if the SWR value is < 1. 02/25/2014

[E4418B-18A](https://keysightsales--c.na158.content.force.com/sfc/dist/version/download/?oid=00D1a000000awb5&ids=0685a00000OMDOG&d=%2Fa%2F5a000001AQjp%2FPT6HHSTDI_X6IRLSqhY71k9Dd7s.n6ftO6MI.moabug&asPdf=true) Front Panel Display Problems Caused by Power Assembly Cable 12/05/2005

[E4418B-08A-S](https://keysightsales--c.na158.content.force.com/sfc/dist/version/download/?oid=00D1a000000awb5&ids=0685a00000OMDO2&d=%2Fa%2F5a000001AQjb%2FsiCIrkcFQ5s_6cm32mdPNeLjICEjvglqDd29ArZIY_4&asPdf=true) Correct Orientation of the Power Supply’s Force-fit Connector 01/03/2012

[E4418B-12](https://keysightsales--c.na158.content.force.com/sfc/dist/version/download/?oid=00D1a000000awb5&ids=0685a00000OMDFj&d=%2Fa%2F5a000001AQay%2F7Z6vmfaV0nqAMw3yHK5A1jP3WVk45vKGnTZq5azMZzw&asPdf=true) Latent Defect Causing Calibrator To Fail Built in Self Test 02/21/2003

[E4418B-10C-S](https://keysightsales--c.na158.content.force.com/sfc/dist/version/download/?oid=00D1a000000awb5&ids=0685a00000OMDOa&d=%2Fa%2F5a000001AQk9%2FZ_914_LZJr8eC5HCk4s8TWP4KAzCLXIs5OWJZG0wFcg&asPdf=true) HI-POT procedure for earth leakage and earth continuity 12/02/2013

[E4418B-07A](https://keysightsales--c.na158.content.force.com/sfc/dist/version/download/?oid=00D1a000000awb5&ids=0685a00000OMDEm&d=%2Fa%2F5a000001AQa1%2FFbCWYuHdejxmdsRl9gg2x4GoD8EyLk12_rJJ4jrrXm8&asPdf=true) Premature RAM Backup Battery Failure 12/16/2003

[E4418B-02A](https://keysightsales--c.na158.content.force.com/sfc/dist/version/download/?oid=00D1a000000awb5&ids=0685a00000OMCzN&d=%2Fa%2F5a000001AQKX%2FgA_x7GFf9rilDo0lTVdtjQuy5Gk6bJMZDDa1e7PJj10&asPdf=true) Premature RAM Backup Battery Failure 12/14/2011

[E4418B-05A](https://keysightsales--c.na158.content.force.com/sfc/dist/version/download/?oid=00D1a000000awb5&ids=0685a00000OMDOp&d=%2Fa%2F5a000001AQkO%2FvqjBCMA_lAua4I7XC7AVDBNUITXn.s3Q2h0S.CmRAv8&asPdf=true) GPIB Problems using the E4418B in HP 436A/437B Emulation Modes 11/07/2000

[E4418B-09](https://keysightsales--c.na158.content.force.com/sfc/dist/version/download/?oid=00D1a000000awb5&ids=0685a00000OMDOk&d=%2Fa%2F5a000001AQkJ%2Fh4H.MYjzWaugarS4gskc_cIdJn0w5CQ8bdY930Gjwqk&asPdf=true) RS422 Serial communication interface disabled 02/12/2001

[E4418B-06](https://keysightsales--c.na158.content.force.com/sfc/dist/version/download/?oid=00D1a000000awb5&ids=0685a00000OMD7G&d=%2Fa%2F5a000001AQSB%2F4M9uXK.9Zw7i4c3MhehNLZ7KkuDvZJSOqh1f1gTGaYE&asPdf=true) Defective fuse holder clips in line module 11/09/2000

[E4418B-16](https://keysightsales--c.na158.content.force.com/sfc/dist/version/download/?oid=00D1a000000awb5&ids=0685a00000OMCrn&d=%2Fa%2F5a000001AQD7%2FzdZzSxuCNG0mJB0tp.gPC1hISUTg1WToVwRM6dNYpZs&asPdf=true) Front Panel Dimension Might Not Be Suitable For Rack Mounting Solutions 04/14/2005

[E4418B-04A](https://keysightsales--c.na158.content.force.com/sfc/dist/version/download/?oid=00D1a000000awb5&ids=0685a00000OMD30&d=%2Fa%2F5a000001AQOA%2F2FtbVYPsVFLLMJsf0VmuRABtWbF_7jAzEOL53r9gpc8&asPdf=true) Remove & Refit Outer Cover To Fix EMI Gasket Issues. 08/05/2003

[E4418B-22A](https://keysightsales--c.na158.content.force.com/sfc/dist/version/download/?oid=00D1a000000awb5&ids=0685a00000OMDKo&d=%2Fa%2F5a000001AQfo%2FtMZdBlKquPrC0ao.NjECcn0dU9PGhGfSj5N9fQBqYh4&asPdf=true) Power Meter Display Shrink 06/28/2010

[E4418B-01](https://keysightsales--c.na158.content.force.com/sfc/dist/version/download/?oid=00D1a000000awb5&ids=0685a00000OMDHl&d=%2Fa%2F5a000001AQcl%2FnWWufK6Pt8AwLH23pJFkMdnMa6yxX7XvKjAKNABG8Po&asPdf=true) Intermittent GPIB Communication Problems 01/18/2000

[E4418B-03A](https://keysightsales--c.na158.content.force.com/sfc/dist/version/download/?oid=00D1a000000awb5&ids=0685a00000OMCoV&d=%2Fa%2F5a000001AQAE%2FDxd2O6HDj0DGU1vA0skA12cDKLwYUzF83i61N5_fms4&asPdf=true) Premature RAM Backup Battery Failure in E4418B option 001 units 12/14/2011

[E4418B-17A](https://keysightsales--c.na158.content.force.com/sfc/dist/version/download/?oid=00D1a000000awb5&ids=0685a00000OMD2b&d=%2Fa%2F5a000001AQNg%2FowchWo.wLYxjE4o9ZnB5f3IOtLLxGWK75Q1tbm9nJHI&asPdf=true) Front Panel Display Problems Caused by Power Assembly Cable 12/05/2005