Purpose

The purpose of this document is to describe the changes from Software Version 2.09 to 2.10 for the IFR 4000.

Contact Aeroflex for more information:

Aeroflex
Customer Service Dept.
10200 W. York
Wichita, KS  67215

Telephone:	(800) 835-2350
FAX:	(316) 524-2623
Email:	americas.service@aeroflex.com

Corrections/Enhancements

General: (All Units)

- Hold/Clear button now acts as a Peak hold instead of a Current hold for all COMM screens (AM, FM, & SSB).

- Guided Tests can be deleted. NEXT & PREV softkeys were removed to make room for the DELETE key.

- Swept SWR screen now has vertical and horizontal graticules and labels.

- External Attenuation can be set to 22.0dB and the TX Power can read up to 1999W.

General: (Mod strike 2 units)

- Corrected a problem on406MHz ELT that was causing a BCN lockup.