## Data
CollectorI(1) | CollectorV(1) | BaseI(1) | EmitterI(1) | CollectorI(2) | CollectorV(2) | BaseI(2) | EmitterI(2) | CollectorI(3) | CollectorV(3) | BaseI(3) | EmitterI(3) | CollectorI(4) | CollectorV(4) | BaseI(4) | EmitterI(4) | CollectorI(5) | CollectorV(5) | BaseI(5) | EmitterI(5)
-9.881e-07 | 0 | 1e-06 | -1.1609e-08 | -3.2075e-06 | 0 | 3.25e-06 | -4.2555e-08 | -5.4998e-06 | 0 | 5.5e-06 | -7.769e-11 | -7.7494e-06 | 0 | 7.75e-06 | -1.6375e-10 | -9.9991e-06 | 0 | 1e-05 | -2.396e-10
9.1683e-07 | 0.05 | 1e-06 | -1.916e-06 | 4.4308e-06 | 0.05 | 3.25e-06 | -7.6792e-06 | 9.2602e-06 | 0.05 | 5.5e-06 | -1.4759e-05 | 1.5188e-05 | 0.05 | 7.75e-06 | -2.2936e-05 | 2.1948e-05 | 0.05 | 1e-05 | -3.1946e-05
1.3239e-05 | 0.1 | 1e-06 | -1.4238e-05 | 5.1009e-05 | 0.1 | 3.25e-06 | -5.4251e-05 | 9.5692e-05 | 0.1 | 5.5e-06 | -0.00010118 | 0.00014445 | 0.1 | 7.75e-06 | -0.00015218 | 0.00019595 | 0.1 | 1e-05 | -0.00020594
6.8701e-05 | 0.15 | 1e-06 | -6.9692e-05 | 0.00023448 | 0.15 | 3.25e-06 | -0.00023771 | 0.00039995 | 0.15 | 5.5e-06 | -0.00040542 | 0.00056611 | 0.15 | 7.75e-06 | -0.00057378 | 0.00072688 | 0.15 | 1e-05 | -0.0007368
0.00016358 | 0.2 | 1e-06 | -0.00016457 | 0.00052023 | 0.2 | 3.25e-06 | -0.00052341 | 0.00085143 | 0.2 | 5.5e-06 | -0.00085683 | 0.0011596 | 0.2 | 7.75e-06 | -0.0011672 | 0.0014526 | 0.2 | 1e-05 | -0.0014625
0.00020995 | 0.25 | 1e-06 | -0.00021094 | 0.00067402 | 0.25 | 3.25e-06 | -0.00067719 | 0.0011209 | 0.25 | 5.5e-06 | -0.0011263 | 0.0015479 | 0.25 | 7.75e-06 | -0.0015555 | 0.0019573 | 0.25 | 1e-05 | -0.0019671
0.00022025 | 0.3 | 1e-06 | -0.00022123 | 0.00071172 | 0.3 | 3.25e-06 | -0.00071489 | 0.0011963 | 0.3 | 5.5e-06 | -0.0012017 | 0.0016731 | 0.3 | 7.75e-06 | -0.0016807 | 0.0021416 | 0.3 | 1e-05 | -0.0021514
0.00022226 | 0.35 | 1e-06 | -0.00022325 | 0.00071891 | 0.35 | 3.25e-06 | -0.00072209 | 0.0012111 | 0.35 | 5.5e-06 | -0.0012165 | 0.0016988 | 0.35 | 7.75e-06 | -0.0017064 | 0.0021822 | 0.35 | 1e-05 | -0.002192
0.00022279 | 0.4 | 1e-06 | -0.00022377 | 0.00072068 | 0.4 | 3.25e-06 | -0.00072384 | 0.0012146 | 0.4 | 5.5e-06 | -0.00122 | 0.0017045 | 0.4 | 7.75e-06 | -0.0017121 | 0.0021909 | 0.4 | 1e-05 | -0.0022008
0.00022303 | 0.45 | 1e-06 | -0.00022401 | 0.00072145 | 0.45 | 3.25e-06 | -0.00072461 | 0.001216 | 0.45 | 5.5e-06 | -0.0012214 | 0.0017067 | 0.45 | 7.75e-06 | -0.0017143 | 0.0021941 | 0.45 | 1e-05 | -0.0022039
0.00022319 | 0.5 | 1e-06 | -0.00022418 | 0.000722 | 0.5 | 3.25e-06 | -0.00072517 | 0.001217 | 0.5 | 5.5e-06 | -0.0012223 | 0.0017082 | 0.5 | 7.75e-06 | -0.0017158 | 0.0021961 | 0.5 | 1e-05 | -0.0022059
0.00022335 | 0.55 | 1e-06 | -0.00022433 | 0.00072249 | 0.55 | 3.25e-06 | -0.00072566 | 0.0012178 | 0.55 | 5.5e-06 | -0.0012232 | 0.0017095 | 0.55 | 7.75e-06 | -0.0017171 | 0.0021978 | 0.55 | 1e-05 | -0.0022077
0.00022349 | 0.6 | 1e-06 | -0.00022447 | 0.00072295 | 0.6 | 3.25e-06 | -0.00072612 | 0.0012186 | 0.6 | 5.5e-06 | -0.001224 | 0.0017107 | 0.6 | 7.75e-06 | -0.0017183 | 0.0021994 | 0.6 | 1e-05 | -0.0022092
0.00022361 | 0.65 | 1e-06 | -0.00022459 | 0.00072339 | 0.65 | 3.25e-06 | -0.00072656 | 0.0012194 | 0.65 | 5.5e-06 | -0.0012248 | 0.0017118 | 0.65 | 7.75e-06 | -0.0017194 | 0.0022009 | 0.65 | 1e-05 | -0.0022107
0.00022373 | 0.7 | 1e-06 | -0.00022472 | 0.00072382 | 0.7 | 3.25e-06 | -0.00072699 | 0.0012202 | 0.7 | 5.5e-06 | -0.0012256 | 0.0017129 | 0.7 | 7.75e-06 | -0.0017205 | 0.0022023 | 0.7 | 1e-05 | -0.0022122
0.00022386 | 0.75 | 1e-06 | -0.00022484 | 0.00072421 | 0.75 | 3.25e-06 | -0.00072738 | 0.0012209 | 0.75 | 5.5e-06 | -0.0012263 | 0.0017139 | 0.75 | 7.75e-06 | -0.0017215 | 0.0022037 | 0.75 | 1e-05 | -0.0022136
0.00022398 | 0.8 | 1e-06 | -0.00022496 | 0.00072462 | 0.8 | 3.25e-06 | -0.00072779 | 0.0012216 | 0.8 | 5.5e-06 | -0.001227 | 0.0017149 | 0.8 | 7.75e-06 | -0.0017225 | 0.0022051 | 0.8 | 1e-05 | -0.0022149
0.00022409 | 0.85 | 1e-06 | -0.00022507 | 0.00072501 | 0.85 | 3.25e-06 | -0.00072817 | 0.0012222 | 0.85 | 5.5e-06 | -0.0012276 | 0.0017159 | 0.85 | 7.75e-06 | -0.0017235 | 0.0022064 | 0.85 | 1e-05 | -0.0022162
0.0002242 | 0.9 | 1e-06 | -0.00022518 | 0.00072539 | 0.9 | 3.25e-06 | -0.00072855 | 0.0012229 | 0.9 | 5.5e-06 | -0.0012283 | 0.0017168 | 0.9 | 7.75e-06 | -0.0017244 | 0.0022076 | 0.9 | 1e-05 | -0.0022174
0.00022432 | 0.95 | 1e-06 | -0.0002253 | 0.00072575 | 0.95 | 3.25e-06 | -0.00072892 | 0.0012235 | 0.95 | 5.5e-06 | -0.0012289 | 0.0017178 | 0.95 | 7.75e-06 | -0.0017254 | 0.0022089 | 0.95 | 1e-05 | -0.0022187
0.00022443 | 1 | 1e-06 | -0.00022541 | 0.00072612 | 1 | 3.25e-06 | -0.00072929 | 0.0012242 | 1 | 5.5e-06 | -0.0012296 | 0.0017187 | 1 | 7.75e-06 | -0.0017263 | 0.0022101 | 1 | 1e-05 | -0.0022199
0.00022454 | 1.05 | 1e-06 | -0.00022552 | 0.00072646 | 1.05 | 3.25e-06 | -0.00072964 | 0.0012248 | 1.05 | 5.5e-06 | -0.0012302 | 0.0017196 | 1.05 | 7.75e-06 | -0.0017272 | 0.0022112 | 1.05 | 1e-05 | -0.0022211
0.00022463 | 1.1 | 1e-06 | -0.00022562 | 0.00072681 | 1.1 | 3.25e-06 | -0.00072998 | 0.0012254 | 1.1 | 5.5e-06 | -0.0012308 | 0.0017204 | 1.1 | 7.75e-06 | -0.001728 | 0.0022124 | 1.1 | 1e-05 | -0.0022222
0.00022474 | 1.15 | 1e-06 | -0.00022572 | 0.00072715 | 1.15 | 3.25e-06 | -0.00073032 | 0.001226 | 1.15 | 5.5e-06 | -0.0012314 | 0.0017213 | 1.15 | 7.75e-06 | -0.0017289 | 0.0022135 | 1.15 | 1e-05 | -0.0022233
0.00022484 | 1.2 | 1e-06 | -0.00022582 | 0.00072747 | 1.2 | 3.25e-06 | -0.00073065 | 0.0012265 | 1.2 | 5.5e-06 | -0.0012319 | 0.0017221 | 1.2 | 7.75e-06 | -0.0017297 | 0.0022146 | 1.2 | 1e-05 | -0.0022244
0.00022494 | 1.25 | 1e-06 | -0.00022592 | 0.00072781 | 1.25 | 3.25e-06 | -0.00073098 | 0.0012271 | 1.25 | 5.5e-06 | -0.0012325 | 0.0017229 | 1.25 | 7.75e-06 | -0.0017306 | 0.0022157 | 1.25 | 1e-05 | -0.0022255
0.00022503 | 1.3 | 1e-06 | -0.00022601 | 0.00072814 | 1.3 | 3.25e-06 | -0.00073131 | 0.0012277 | 1.3 | 5.5e-06 | -0.0012331 | 0.0017238 | 1.3 | 7.75e-06 | -0.0017314 | 0.0022167 | 1.3 | 1e-05 | -0.0022266
0.00022513 | 1.35 | 1e-06 | -0.00022611 | 0.00072846 | 1.35 | 3.25e-06 | -0.00073163 | 0.0012282 | 1.35 | 5.5e-06 | -0.0012336 | 0.0017245 | 1.35 | 7.75e-06 | -0.0017321 | 0.0022178 | 1.35 | 1e-05 | -0.0022276
0.00022522 | 1.4 | 1e-06 | -0.0002262 | 0.00072877 | 1.4 | 3.25e-06 | -0.00073194 | 0.0012288 | 1.4 | 5.5e-06 | -0.0012342 | 0.0017253 | 1.4 | 7.75e-06 | -0.0017329 | 0.0022188 | 1.4 | 1e-05 | -0.0022286
0.00022532 | 1.45 | 1e-06 | -0.0002263 | 0.00072907 | 1.45 | 3.25e-06 | -0.00073224 | 0.0012293 | 1.45 | 5.5e-06 | -0.0012347 | 0.0017261 | 1.45 | 7.75e-06 | -0.0017337 | 0.0022198 | 1.45 | 1e-05 | -0.0022297
0.00022541 | 1.5 | 1e-06 | -0.00022639 | 0.00072938 | 1.5 | 3.25e-06 | -0.00073256 | 0.0012298 | 1.5 | 5.5e-06 | -0.0012352 | 0.0017269 | 1.5 | 7.75e-06 | -0.0017345 | 0.0022208 | 1.5 | 1e-05 | -0.0022307
0.00022549 | 1.55 | 1e-06 | -0.00022648 | 0.00072969 | 1.55 | 3.25e-06 | -0.00073287 | 0.0012304 | 1.55 | 5.5e-06 | -0.0012358 | 0.0017276 | 1.55 | 7.75e-06 | -0.0017352 | 0.0022218 | 1.55 | 1e-05 | -0.0022317
0.00022559 | 1.6 | 1e-06 | -0.00022657 | 0.00072999 | 1.6 | 3.25e-06 | -0.00073316 | 0.0012309 | 1.6 | 5.5e-06 | -0.0012363 | 0.0017283 | 1.6 | 7.75e-06 | -0.001736 | 0.0022228 | 1.6 | 1e-05 | -0.0022326
0.00022568 | 1.65 | 1e-06 | -0.00022666 | 0.00073027 | 1.65 | 3.25e-06 | -0.00073345 | 0.0012314 | 1.65 | 5.5e-06 | -0.0012368 | 0.0017291 | 1.65 | 7.75e-06 | -0.0017367 | 0.0022238 | 1.65 | 1e-05 | -0.0022336
0.00022577 | 1.7 | 1e-06 | -0.00022675 | 0.00073057 | 1.7 | 3.25e-06 | -0.00073374 | 0.0012319 | 1.7 | 5.5e-06 | -0.0012373 | 0.0017298 | 1.7 | 7.75e-06 | -0.0017374 | 0.0022247 | 1.7 | 1e-05 | -0.0022346
0.00022585 | 1.75 | 1e-06 | -0.00022683 | 0.00073086 | 1.75 | 3.25e-06 | -0.00073403 | 0.0012324 | 1.75 | 5.5e-06 | -0.0012378 | 0.0017305 | 1.75 | 7.75e-06 | -0.0017381 | 0.0022257 | 1.75 | 1e-05 | -0.0022355
0.00022594 | 1.8 | 1e-06 | -0.00022692 | 0.00073114 | 1.8 | 3.25e-06 | -0.00073431 | 0.0012329 | 1.8 | 5.5e-06 | -0.0012383 | 0.0017313 | 1.8 | 7.75e-06 | -0.0017389 | 0.0022266 | 1.8 | 1e-05 | -0.0022365
0.00022603 | 1.85 | 1e-06 | -0.00022701 | 0.00073143 | 1.85 | 3.25e-06 | -0.0007346 | 0.0012334 | 1.85 | 5.5e-06 | -0.0012388 | 0.0017319 | 1.85 | 7.75e-06 | -0.0017396 | 0.0022276 | 1.85 | 1e-05 | -0.0022374
0.0002261 | 1.9 | 1e-06 | -0.00022709 | 0.00073169 | 1.9 | 3.25e-06 | -0.00073487 | 0.0012338 | 1.9 | 5.5e-06 | -0.0012392 | 0.0017326 | 1.9 | 7.75e-06 | -0.0017403 | 0.0022284 | 1.9 | 1e-05 | -0.0022383
0.00022619 | 1.95 | 1e-06 | -0.00022718 | 0.00073197 | 1.95 | 3.25e-06 | -0.00073515 | 0.0012343 | 1.95 | 5.5e-06 | -0.0012397 | 0.0017333 | 1.95 | 7.75e-06 | -0.0017409 | 0.0022294 | 1.95 | 1e-05 | -0.0022392
0.00022627 | 2 | 1e-06 | -0.00022726 | 0.00073225 | 2 | 3.25e-06 | -0.00073542 | 0.0012348 | 2 | 5.5e-06 | -0.0012402 | 0.001734 | 2 | 7.75e-06 | -0.0017416 | 0.0022303 | 2 | 1e-05 | -0.0022401

## Settings
Test Name | vce-ic#1@1
Mode | Sweeping
Speed | Normal
Sweep Delay | 0
Hold Time | 0
Site Coordinate | 0,0
Last Executed | 04/23/2001 17:50:11
Device Terminal | Collector | Base | Emitter
Instrument | SMU1 | SMU2 | SMU3
Name | CollectorV | BaseI | EmitterV
Forcing Function | Voltage Sweep | Current Step | Voltage Bias
Master/Slave | Master | Master | N/A
Start/Level | 0 | 1e-006 | 0
Stop | 2 | 1e-005 | N/A
Step | 0.05 | 2e-006 | N/A
Number of Points | 41 | 5 | 0
Compliance | 0.1 | 20 | 0.1
Measure I | Measured | Programmed | Measured
Measure V | Programmed | No | No
Range I | Limited Auto=100pA | Best Fixed | Limited Auto=100pA
Range V | Best Fixed | Auto | Best Fixed