## Data
CollectorI | CollectorV | BaseV | EmitterI | ICSAT | VCSAT
-9.9989e-06 | 9.5871e-06 | 0.53183 | -6.1482e-10 | 0.0021198 | 2
-7.3425e-06 | 0.010016 | 0.5418 | -2.6567e-06
-3.3283e-06 | 0.019987 | 0.55182 | -6.6709e-06
5.5042e-07 | 0.029965 | 0.55924 | -1.0548e-05
1.039e-05 | 0.039974 | 0.57144 | -2.0388e-05
2.1295e-05 | 0.049984 | 0.5809 | -3.1292e-05
3.7254e-05 | 0.059958 | 0.59044 | -4.7251e-05
6.33e-05 | 0.069967 | 0.60051 | -7.3291e-05
9.6855e-05 | 0.079938 | 0.60988 | -0.00010684
0.00014302 | 0.089947 | 0.61906 | -0.00015301
0.0002043 | 0.099924 | 0.62788 | -0.00021428
0.0002837 | 0.10994 | 0.63636 | -0.00029367
0.00038198 | 0.11991 | 0.64434 | -0.00039195
0.00050402 | 0.12991 | 0.65189 | -0.00051394
0.00064138 | 0.13991 | 0.65878 | -0.00065129
0.00079383 | 0.14994 | 0.66509 | -0.00080374
0.00095472 | 0.15993 | 0.67074 | -0.00096462
0.0011182 | 0.16993 | 0.67574 | -0.0011281
0.001279 | 0.17996 | 0.68013 | -0.0012889
0.0014307 | 0.18996 | 0.68391 | -0.0014406
0.0015712 | 0.19999 | 0.68712 | -0.001581
0.0016958 | 0.20998 | 0.6898 | -0.0017057
0.0018037 | 0.22001 | 0.69201 | -0.0018136
0.0018937 | 0.23001 | 0.69377 | -0.0019035
0.0019664 | 0.24004 | 0.69516 | -0.0019763
0.0020241 | 0.25004 | 0.69624 | -0.002034
0.0020688 | 0.26006 | 0.69705 | -0.0020787
0.0021025 | 0.27006 | 0.69764 | -0.0021124
0.0021276 | 0.28007 | 0.69809 | -0.0021374
0.0021456 | 0.29004 | 0.69841 | -0.0021554
0.0021586 | 0.30005 | 0.69864 | -0.0021684
0.0021679 | 0.31002 | 0.69879 | -0.0021778
0.0021747 | 0.32002 | 0.69889 | -0.0021845
0.0021795 | 0.33 | 0.69897 | -0.0021894
0.0021831 | 0.34001 | 0.69903 | -0.0021929
0.0021857 | 0.34998 | 0.69905 | -0.0021955
0.0021877 | 0.35999 | 0.69908 | -0.0021975
0.0021892 | 0.36996 | 0.6991 | -0.002199
0.0021904 | 0.37997 | 0.6991 | -0.0022002
0.0021913 | 0.38994 | 0.69911 | -0.0022011
0.0021921 | 0.39994 | 0.69912 | -0.0022019
0.0021928 | 0.40993 | 0.69911 | -0.0022026
0.0021933 | 0.41996 | 0.69911 | -0.0022031
0.0021938 | 0.42995 | 0.6991 | -0.0022037
0.0021943 | 0.43998 | 0.6991 | -0.0022041
0.0021948 | 0.44998 | 0.69909 | -0.0022046
0.0021952 | 0.46 | 0.6991 | -0.002205
0.0021956 | 0.47 | 0.6991 | -0.0022054
0.002196 | 0.48003 | 0.69911 | -0.0022058
0.0021964 | 0.49003 | 0.69912 | -0.0022062
0.0021967 | 0.50005 | 0.6991 | -0.0022065
0.0021971 | 0.51005 | 0.69911 | -0.0022069
0.0021974 | 0.52008 | 0.69912 | -0.0022073
0.0021978 | 0.53007 | 0.69912 | -0.0022076
0.0021981 | 0.5401 | 0.69912 | -0.0022079
0.0021984 | 0.55009 | 0.69913 | -0.0022083
0.0021988 | 0.56009 | 0.69912 | -0.0022086
0.0021991 | 0.57006 | 0.69913 | -0.0022089
0.0021994 | 0.58007 | 0.69914 | -0.0022092
0.0021997 | 0.59005 | 0.69914 | -0.0022095
0.0022 | 0.60005 | 0.69914 | -0.0022098
0.0022003 | 0.61003 | 0.69913 | -0.0022102
0.0022006 | 0.62003 | 0.69914 | -0.0022105
0.0022009 | 0.63 | 0.69915 | -0.0022107
0.0022012 | 0.64001 | 0.69917 | -0.0022111
0.0022015 | 0.64999 | 0.69917 | -0.0022113
0.0022018 | 0.65999 | 0.69917 | -0.0022117
0.0022021 | 0.66996 | 0.69915 | -0.0022119
0.0022024 | 0.67994 | 0.69913 | -0.0022122
0.0022027 | 0.68996 | 0.69913 | -0.0022125
0.002203 | 0.69995 | 0.69913 | -0.0022128
0.0022032 | 0.70998 | 0.69914 | -0.0022131
0.0022035 | 0.71998 | 0.69915 | -0.0022134
0.0022038 | 0.73001 | 0.69915 | -0.0022136
0.0022041 | 0.74 | 0.69914 | -0.0022139
0.0022044 | 0.75003 | 0.69912 | -0.0022142
0.0022046 | 0.76002 | 0.69913 | -0.0022145
0.0022049 | 0.77005 | 0.69912 | -0.0022147
0.0022052 | 0.78004 | 0.69911 | -0.002215
0.0022055 | 0.79008 | 0.69911 | -0.0022153
0.0022057 | 0.80007 | 0.69911 | -0.0022155
0.002206 | 0.8101 | 0.69911 | -0.0022158
0.0022063 | 0.82009 | 0.69912 | -0.0022161
0.0022065 | 0.8301 | 0.69912 | -0.0022163
0.0022068 | 0.84007 | 0.69912 | -0.0022166
0.002207 | 0.85008 | 0.6991 | -0.0022169
0.0022073 | 0.86005 | 0.6991 | -0.0022171
0.0022076 | 0.87006 | 0.69911 | -0.0022174
0.0022078 | 0.88003 | 0.69912 | -0.0022176
0.002208 | 0.89004 | 0.69911 | -0.0022179
0.0022083 | 0.90001 | 0.69912 | -0.0022181
0.0022086 | 0.91002 | 0.69911 | -0.0022184
0.0022088 | 0.91999 | 0.69911 | -0.0022186
0.0022091 | 0.93 | 0.6991 | -0.0022189
0.0022093 | 0.93997 | 0.69908 | -0.0022191
0.0022095 | 0.94998 | 0.69909 | -0.0022194
0.0022098 | 0.95996 | 0.69907 | -0.0022196
0.0022101 | 0.96999 | 0.69907 | -0.0022199
0.0022103 | 0.97998 | 0.69907 | -0.0022201
0.0022105 | 0.99001 | 0.69907 | -0.0022203
0.0022108 | 1 | 0.69907 | -0.0022206
0.002211 | 1.01 | 0.69908 | -0.0022208
0.0022113 | 1.02 | 0.69908 | -0.0022211
0.0022115 | 1.0301 | 0.69907 | -0.0022213
0.0022117 | 1.0401 | 0.69908 | -0.0022216
0.002212 | 1.0501 | 0.69907 | -0.0022218
0.0022122 | 1.0601 | 0.69907 | -0.002222
0.0022124 | 1.0701 | 0.69907 | -0.0022223
0.0022127 | 1.0801 | 0.69908 | -0.0022225
0.0022129 | 1.0901 | 0.69908 | -0.0022227
0.0022132 | 1.1001 | 0.69907 | -0.002223
0.0022134 | 1.1101 | 0.69907 | -0.0022232
0.0022136 | 1.1201 | 0.69907 | -0.0022234
0.0022138 | 1.1301 | 0.69906 | -0.0022237
0.0022141 | 1.1401 | 0.69906 | -0.0022239
0.0022143 | 1.1501 | 0.69906 | -0.0022241
0.0022145 | 1.16 | 0.69907 | -0.0022243
0.0022148 | 1.1701 | 0.69907 | -0.0022246
0.002215 | 1.18 | 0.69906 | -0.0022248
0.0022152 | 1.19 | 0.69906 | -0.0022251
0.0022155 | 1.2 | 0.69905 | -0.0022253
0.0022157 | 1.21 | 0.69906 | -0.0022255
0.0022159 | 1.22 | 0.69904 | -0.0022257
0.0022161 | 1.23 | 0.69904 | -0.0022259
0.0022163 | 1.24 | 0.69904 | -0.0022262
0.0022166 | 1.25 | 0.69904 | -0.0022264
0.0022168 | 1.26 | 0.69904 | -0.0022266
0.002217 | 1.27 | 0.69905 | -0.0022268
0.0022172 | 1.28 | 0.69904 | -0.0022271
0.0022174 | 1.29 | 0.69905 | -0.0022273
0.0022177 | 1.3001 | 0.69904 | -0.0022275
0.0022179 | 1.31 | 0.69904 | -0.0022277
0.0022181 | 1.3201 | 0.69905 | -0.0022279
0.0022183 | 1.3301 | 0.69903 | -0.0022282
0.0022185 | 1.3401 | 0.69904 | -0.0022284
0.0022187 | 1.3501 | 0.69904 | -0.0022286
0.002219 | 1.3601 | 0.69905 | -0.0022288
0.0022192 | 1.3701 | 0.69904 | -0.002229
0.0022194 | 1.3801 | 0.69904 | -0.0022292
0.0022196 | 1.3901 | 0.69904 | -0.0022294
0.0022198 | 1.4001 | 0.69903 | -0.0022296
0.00222 | 1.4101 | 0.69902 | -0.0022298
0.0022202 | 1.4201 | 0.69902 | -0.0022301
0.0022204 | 1.43 | 0.69902 | -0.0022303
0.0022206 | 1.4401 | 0.69901 | -0.0022305
0.0022209 | 1.45 | 0.699 | -0.0022307
0.0022211 | 1.46 | 0.69901 | -0.0022309
0.0022213 | 1.47 | 0.69902 | -0.0022311
0.0022215 | 1.48 | 0.699 | -0.0022313
0.0022217 | 1.49 | 0.69901 | -0.0022315
0.0022219 | 1.5 | 0.69901 | -0.0022317
0.0022221 | 1.51 | 0.69901 | -0.0022319
0.0022223 | 1.52 | 0.699 | -0.0022321
0.0022225 | 1.53 | 0.69899 | -0.0022324
0.0022227 | 1.54 | 0.699 | -0.0022326
0.0022229 | 1.55 | 0.699 | -0.0022328
0.0022231 | 1.56 | 0.69901 | -0.002233
0.0022234 | 1.57 | 0.699 | -0.0022332
0.0022236 | 1.58 | 0.69899 | -0.0022334
0.0022238 | 1.59 | 0.699 | -0.0022336
0.002224 | 1.6001 | 0.69899 | -0.0022338
0.0022241 | 1.61 | 0.69898 | -0.002234
0.0022244 | 1.6201 | 0.69898 | -0.0022342
0.0022246 | 1.6301 | 0.69898 | -0.0022344
0.0022248 | 1.6401 | 0.69898 | -0.0022346
0.002225 | 1.6501 | 0.69897 | -0.0022348
0.0022252 | 1.6601 | 0.69897 | -0.002235
0.0022254 | 1.6701 | 0.69896 | -0.0022352
0.0022255 | 1.68 | 0.69896 | -0.0022354
0.0022258 | 1.69 | 0.69896 | -0.0022356
0.0022259 | 1.7 | 0.69896 | -0.0022358
0.0022261 | 1.71 | 0.69895 | -0.002236
0.0022263 | 1.72 | 0.69896 | -0.0022362
0.0022265 | 1.73 | 0.69896 | -0.0022364
0.0022267 | 1.74 | 0.69895 | -0.0022366
0.0022269 | 1.75 | 0.69895 | -0.0022368
0.0022271 | 1.7599 | 0.69896 | -0.0022369
0.0022273 | 1.7699 | 0.69895 | -0.0022371
0.0022275 | 1.7799 | 0.69895 | -0.0022373
0.0022277 | 1.7899 | 0.69896 | -0.0022376
0.0022279 | 1.7999 | 0.69893 | -0.0022377
0.0022281 | 1.81 | 0.69894 | -0.0022379
0.0022283 | 1.82 | 0.69894 | -0.0022381
0.0022285 | 1.83 | 0.69893 | -0.0022383
0.0022287 | 1.84 | 0.69893 | -0.0022385
0.0022289 | 1.85 | 0.69894 | -0.0022387
0.0022291 | 1.86 | 0.69895 | -0.0022389
0.0022293 | 1.87 | 0.69893 | -0.0022391
0.0022294 | 1.88 | 0.69894 | -0.0022393
0.0022296 | 1.89 | 0.69893 | -0.0022395
0.0022298 | 1.9 | 0.69894 | -0.0022397
0.00223 | 1.9101 | 0.69893 | -0.0022398
0.0022302 | 1.9201 | 0.69893 | -0.00224
0.0022304 | 1.9301 | 0.69894 | -0.0022402
0.0022306 | 1.94 | 0.69893 | -0.0022404
0.0022308 | 1.95 | 0.69892 | -0.0022406
0.0022309 | 1.96 | 0.69893 | -0.0022408
0.0022311 | 1.97 | 0.69894 | -0.002241
0.0022314 | 1.98 | 0.69894 | -0.0022412
0.0022315 | 1.99 | 0.69891 | -0.0022414
0.0022317 | 2 | 0.69891 | -0.0022416

## Settings
Test Name | vcsat#1@1
Mode | Sweeping
Speed | Normal
Sweep Delay | 0
Hold Time | 0
Site Coordinate | 0,0
Last Executed | 04/23/2001 17:53:59
Device Terminal | Collector | Base | Emitter
Instrument | SMU1 | SMU2 | SMU3
Name | CollectorV | BaseI | EmitterV
Forcing Function | Voltage Sweep | Current Bias (VMU) | Voltage Bias
Master/Slave | Master | N/A | N/A
Start/Level | 0 | 1e-005 | 0
Stop | 2 | N/A | N/A
Step | 0.01 | N/A | N/A
Number of Points | 201 | 0 | 0
Compliance | 0.1 | 20 | 0.1
Measure I | Measured | No | Measured
Measure V | Measured | Measured | No
Range I | Limited Auto=100pA | Best Fixed | Limited Auto=100pA
Range V | Best Fixed | Auto | Best Fixed
Formulas
ICSAT = 0.95* MAX(MAVG(COLLECTORI,5))
VCSAT = AT(COLLECTORV, FINDD(COLLECTORI, 0.01, 2))