## Data
DrainI | GateV | STARTI | STOPI | VT | IDFIT
2.2479e-13 | 0 | 0.001 | 0.006 | 1.6213 | -0.0097991
2.4741e-13 | 0.05 |  |  |  | -0.009497
3.0436e-13 | 0.1 |  |  |  | -0.0091948
4.2673e-13 | 0.15 |  |  |  | -0.0088926
6.601e-13 | 0.2 |  |  |  | -0.0085904
1.1498e-12 | 0.25 |  |  |  | -0.0082882
2.1241e-12 | 0.3 |  |  |  | -0.007986
4.1147e-12 | 0.35 |  |  |  | -0.0076838
8.2807e-12 | 0.4 |  |  |  | -0.0073816
1.7188e-11 | 0.45 |  |  |  | -0.0070794
3.6318e-11 | 0.5 |  |  |  | -0.0067772
7.7385e-11 | 0.55 |  |  |  | -0.006475
1.7214e-10 | 0.6 |  |  |  | -0.0061728
3.8303e-10 | 0.65 |  |  |  | -0.0058706
8.698e-10 | 0.7 |  |  |  | -0.0055685
1.991e-09 | 0.75 |  |  |  | -0.0052663
4.5902e-09 | 0.8 |  |  |  | -0.0049641
1.0649e-08 | 0.85 |  |  |  | -0.0046619
2.5106e-08 | 0.9 |  |  |  | -0.0043597
5.8947e-08 | 0.95 |  |  |  | -0.0040575
1.3806e-07 | 1 |  |  |  | -0.0037553
3.2048e-07 | 1.05 |  |  |  | -0.0034531
7.3311e-07 | 1.1 |  |  |  | -0.0031509
1.6188e-06 | 1.15 |  |  |  | -0.0028487
3.4453e-06 | 1.2 |  |  |  | -0.0025465
7.0609e-06 | 1.25 |  |  |  | -0.0022443
1.4031e-05 | 1.3 |  |  |  | -0.0019421
2.6807e-05 | 1.35 |  |  |  | -0.00164
4.9209e-05 | 1.4 |  |  |  | -0.0013378
8.6204e-05 | 1.45 |  |  |  | -0.0010356
0.00014365 | 1.5 |  |  |  | -0.00073338
0.00022573 | 1.55 |  |  |  | -0.00043119
0.00033637 | 1.6 |  |  |  | -0.00012899
0.00047705 | 1.65 |  |  |  | 0.0001732
0.00064966 | 1.7 |  |  |  | 0.00047539
0.00085081 | 1.75 |  |  |  | 0.00077758
0.0010798 | 1.8 |  |  |  | 0.0010798
0.0013343 | 1.85 |  |  |  | 0.001382
0.0016139 | 1.9 |  |  |  | 0.0016842
0.0019115 | 1.95 |  |  |  | 0.0019864
0.0022249 | 2 |  |  |  | 0.0022885
0.002551 | 2.05 |  |  |  | 0.0025907
0.0028866 | 2.1 |  |  |  | 0.0028929
0.0032223 | 2.15 |  |  |  | 0.0031951
0.0035558 | 2.2 |  |  |  | 0.0034973
0.0038839 | 2.25 |  |  |  | 0.0037995
0.0042037 | 2.3 |  |  |  | 0.0041017
0.0045153 | 2.35 |  |  |  | 0.0044039
0.0048145 | 2.4 |  |  |  | 0.0047061
0.0051031 | 2.45 |  |  |  | 0.0050083
0.005382 | 2.5 |  |  |  | 0.0053105
0.0056535 | 2.55 |  |  |  | 0.0056127
0.0059149 | 2.6 |  |  |  | 0.0059149
0.0061684 | 2.65 |  |  |  | 0.006217
0.0064151 | 2.7 |  |  |  | 0.0065192
0.0066571 | 2.75 |  |  |  | 0.0068214
0.0068917 | 2.8 |  |  |  | 0.0071236
0.0071206 | 2.85 |  |  |  | 0.0074258
0.007345 | 2.9 |  |  |  | 0.007728
0.0075661 | 2.95 |  |  |  | 0.0080302
0.0077817 | 3 |  |  |  | 0.0083324
0.0079933 | 3.05 |  |  |  | 0.0086346
0.0082012 | 3.1 |  |  |  | 0.0089368
0.0084074 | 3.15 |  |  |  | 0.009239
0.0086086 | 3.2 |  |  |  | 0.0095412
0.008807 | 3.25 |  |  |  | 0.0098433
0.0090028 | 3.3 |  |  |  | 0.010146
0.0091968 | 3.35 |  |  |  | 0.010448
0.0093869 | 3.4 |  |  |  | 0.01075
0.009575 | 3.45 |  |  |  | 0.011052
0.0097606 | 3.5 |  |  |  | 0.011354
0.0099449 | 3.55 |  |  |  | 0.011657
0.010126 | 3.6 |  |  |  | 0.011959
0.010305 | 3.65 |  |  |  | 0.012261
0.010483 | 3.7 |  |  |  | 0.012563
0.010658 | 3.75 |  |  |  | 0.012865
0.010833 | 3.8 |  |  |  | 0.013167
0.011004 | 3.85 |  |  |  | 0.01347
0.011174 | 3.9 |  |  |  | 0.013772
0.011343 | 3.95 |  |  |  | 0.014074
0.011511 | 4 |  |  |  | 0.014376
0.011676 | 4.05 |  |  |  | 0.014678
0.01184 | 4.1 |  |  |  | 0.014981
0.012002 | 4.15 |  |  |  | 0.015283
0.012164 | 4.2 |  |  |  | 0.015585
0.012323 | 4.25 |  |  |  | 0.015887
0.012481 | 4.3 |  |  |  | 0.016189
0.012638 | 4.35 |  |  |  | 0.016492
0.012795 | 4.4 |  |  |  | 0.016794
0.012949 | 4.45 |  |  |  | 0.017096
0.013102 | 4.5 |  |  |  | 0.017398
0.013254 | 4.55 |  |  |  | 0.0177
0.013406 | 4.6 |  |  |  | 0.018003
0.013556 | 4.65 |  |  |  | 0.018305
0.013705 | 4.7 |  |  |  | 0.018607
0.013852 | 4.75 |  |  |  | 0.018909
0.014 | 4.8 |  |  |  | 0.019211
0.014145 | 4.85 |  |  |  | 0.019514
0.01429 | 4.9 |  |  |  | 0.019816
0.014433 | 4.95 |  |  |  | 0.020118
0.014577 | 5 |  |  |  | 0.02042

## Settings
Test Name | vtlin#1@1
Mode | Sweeping
Speed | Normal
Sweep Delay | 0
Hold Time | 0
Site Coordinate | 0,0
Last Executed | 04/23/2001 17:31:51
Device Terminal | Source | Drain | Gate | Bulk
Instrument | SMU1 | SMU2 | SMU3 | GNDU
Name | SourceV | DrainV | GateV | N/A
Forcing Function | Voltage Bias | Voltage Bias | Voltage Sweep | Common
Master/Slave | N/A | N/A | Master | N/A
Start/Level | 0 | 1 | 0 | 0
Stop | N/A | N/A | 5 | N/A
Step | N/A | N/A | 0.05 | N/A
Number of Points | 0 | 0 | 101 | N/A
Compliance | 0.1 | 0.1 | 0.1 | N/A
Measure I | No | Measured | No | N/A
Measure V | No | No | Programmed | N/A
Range I | Limited Auto=100pA | Limited Auto=100pA | Limited Auto=100pA | N/A
Range V | Best Fixed | Best Fixed | Best Fixed | N/A
Formulas
STARTI = 1.E-3
STOPI = 6E-3
VT = LINFITXINT(GATEV, DRAINI, FINDD(DRAINI, STARTI, 2), FINDD(DRAINI, STOPI, 2))
IDFIT = LINFIT(GATEV, DRAINI, FINDD(DRAINI, STARTI, 2), FINDD(DRAINI, STOPI, 2))