Reinstalling the default project for the

Keithley Model 4200-SCS Semiconductor Characterization System

Overview:

A default project file which contains best practices for the most common device tests in installed on the 4200-SCS when it ships new from the factory. If over time that project file becomes corrupted or deleted, these are the steps for restoring it to its original state.

Steps:

- Save the current “Default” project that is in your 4200-SCS to a different project name (example: Defalut_Old) by going to “File / Save Project As” in the KITE window.

  - The new project file will be automatically saved under C:\S4200\kiuser\Projects\<Your File Name>.

- Unzip the downloaded file “4200-SCS Default Project.zip” and copy the default folder into C:\S4200\kiuser\Projects\<Defalult>.

- Make a copy of this “Defalult” project and save it (example: Default_backup).  This allows you to have a permanent copy of the “Defalult” project (under the name “Default_backup”) in C:\S4200\kiuser\Projects\<Default_backup>.