## Data
DrainI | GateV | STARTI | STOPI | IDFIT | SUBVTSLP
0.000545 | 2 | 1e-10 | 0.0001 | 0.47139 | 15.3738
0.00051172 | 1.95 |  |  | 0.21855
0.00047632 | 1.9 |  |  | 0.10132
0.00043834 | 1.85 |  |  | 0.046976
0.00039737 | 1.8 |  |  | 0.021779
0.0003529 | 1.75 |  |  | 0.010097
0.00030474 | 1.7 |  |  | 0.0046812
0.00025322 | 1.65 |  |  | 0.0021703
0.00019992 | 1.6 |  |  | 0.0010062
0.00014811 | 1.55 |  |  | 0.0004665
0.00010195 | 1.5 |  |  | 0.00021628
6.507e-05 | 1.45 |  |  | 0.00010027
3.8702e-05 | 1.4 |  |  | 4.6487e-05
2.1733e-05 | 1.35 |  |  | 2.1553e-05
1.1673e-05 | 1.3 |  |  | 9.9922e-06
6.0403e-06 | 1.25 |  |  | 4.6326e-06
3.0125e-06 | 1.2 |  |  | 2.1478e-06
1.4427e-06 | 1.15 |  |  | 9.9575e-07
6.6441e-07 | 1.1 |  |  | 4.6165e-07
2.9585e-07 | 1.05 |  |  | 2.1403e-07
1.2893e-07 | 1 |  |  | 9.9229e-08
5.5486e-08 | 0.95 |  |  | 4.6005e-08
2.3752e-08 | 0.9 |  |  | 2.1329e-08
1.0174e-08 | 0.85 |  |  | 9.8884e-09
4.3803e-09 | 0.8 |  |  | 4.5845e-09
1.9031e-09 | 0.75 |  |  | 2.1255e-09
8.2712e-10 | 0.7 |  |  | 9.8541e-10
3.6956e-10 | 0.65 |  |  | 4.5685e-10
1.6618e-10 | 0.6 |  |  | 2.1181e-10
7.5877e-11 | 0.55 |  |  | 9.8198e-11
3.5069e-11 | 0.5 |  |  | 4.5527e-11
1.6743e-11 | 0.45 |  |  | 2.1107e-11
8.1955e-12 | 0.4 |  |  | 9.7857e-12
4.1184e-12 | 0.35 |  |  | 4.5368e-12
2.1408e-12 | 0.3 |  |  | 2.1034e-12
1.1622e-12 | 0.25 |  |  | 9.7517e-13
6.6392e-13 | 0.2 |  |  | 4.5211e-13
4.0684e-13 | 0.15 |  |  | 2.0961e-13
2.6546e-13 | 0.1 |  |  | 9.7178e-14
1.9637e-13 | 0.05 |  |  | 4.5054e-14
1.5413e-13 | 0 |  |  | 2.0888e-14
1.3268e-13 | -0.05 |  |  | 9.684e-15
1.1824e-13 | -0.1 |  |  | 4.4897e-15
1.0753e-13 | -0.15 |  |  | 2.0815e-15
1.0485e-13 | -0.2 |  |  | 9.6504e-16
1.034e-13 | -0.25 |  |  | 4.4741e-16
1.0316e-13 | -0.3 |  |  | 2.0743e-16
1.0258e-13 | -0.35 |  |  | 9.6169e-17
9.8294e-14 | -0.4 |  |  | 4.4586e-17
9.7238e-14 | -0.45 |  |  | 2.0671e-17
9.8046e-14 | -0.5 |  |  | 9.5834e-18
9.4972e-14 | -0.55 |  |  | 4.4431e-18
9.3357e-14 | -0.6 |  |  | 2.0599e-18
9.6791e-14 | -0.65 |  |  | 9.5501e-19
9.3363e-14 | -0.7 |  |  | 4.4276e-19
9.1411e-14 | -0.75 |  |  | 2.0527e-19
9.4714e-14 | -0.8 |  |  | 9.5169e-20
9.4314e-14 | -0.85 |  |  | 4.4123e-20
9.3576e-14 | -0.9 |  |  | 2.0456e-20
9.3496e-14 | -0.95 |  |  | 9.4839e-21
9.8683e-14 | -1 |  |  | 4.3969e-21
9.5372e-14 | -1.05 |  |  | 2.0385e-21
9.5394e-14 | -1.1 |  |  | 9.4509e-22
9.5573e-14 | -1.15 |  |  | 4.3816e-22
9.5661e-14 | -1.2 |  |  | 2.0314e-22
9.8084e-14 | -1.25 |  |  | 9.4181e-23
9.4515e-14 | -1.3 |  |  | 4.3664e-23
9.6893e-14 | -1.35 |  |  | 2.0244e-23
9.7637e-14 | -1.4 |  |  | 9.3854e-24
9.8408e-14 | -1.45 |  |  | 4.3512e-24
9.7126e-14 | -1.5 |  |  | 2.0173e-24
9.8347e-14 | -1.55 |  |  | 9.3528e-25
9.6968e-14 | -1.6 |  |  | 4.3361e-25
9.806e-14 | -1.65 |  |  | 2.0103e-25
1.0101e-13 | -1.7 |  |  | 9.3202e-26
9.3868e-14 | -1.75 |  |  | 4.3211e-26
9.9588e-14 | -1.8 |  |  | 2.0033e-26
9.8722e-14 | -1.85 |  |  | 9.2879e-27
9.5292e-14 | -1.9 |  |  | 4.306e-27
9.7993e-14 | -1.95 |  |  | 1.9964e-27
9.9738e-14 | -2 |  |  | 9.2556e-28

## Settings
Test Name | subvt#1@1
Mode | Sweeping
Speed | Normal
Sweep Delay | 0
Hold Time | 0
Site Coordinate | 0,0
Last Executed | 04/23/2001 17:32:42
Device Terminal | Source | Drain | Gate | Bulk
Instrument | SMU1 | SMU2 | SMU3 | GNDU
Name | SourceV | DrainV | GateV | N/A
Forcing Function | Voltage Bias | Voltage Bias | Voltage Sweep | Common
Master/Slave | N/A | N/A | Master | N/A
Start/Level | 0 | 0.1 | 2 | 0
Stop | N/A | N/A | -2 | N/A
Step | N/A | N/A | -0.05 | N/A
Number of Points | 0 | 0 | 81 | N/A
Compliance | 0.1 | 0.1 | 0.1 | N/A
Measure I | No | Measured | No | N/A
Measure V | No | No | Programmed | N/A
Range I | Limited Auto=100pA | Limited Auto=100pA | Limited Auto=100pA | N/A
Range V | Best Fixed | Best Fixed | Best Fixed | N/A
Formulas
STARTI = 1E-10
STOPI = 1E-4
IDFIT = EXPFIT(GATEV, DRAINI, FINDD(DRAINI, STOPI, 2), FINDD(DRAINI, STARTI, 2))
SUBVTSLP = EXPFITB(GATEV, DRAINI, FINDD(DRAINI, STOPI, 2), FINDD(DRAINI, STARTI, 2))