## Data
AI | AV | RES
-9.8981e-10 | -1 | 992231852.5327
-9.5073e-10 | -0.96
-9.1055e-10 | -0.92
-8.7133e-10 | -0.88
-8.3177e-10 | -0.84
-7.9224e-10 | -0.8
-7.5189e-10 | -0.76
-7.1306e-10 | -0.72
-6.7337e-10 | -0.68
-6.3331e-10 | -0.64
-5.9413e-10 | -0.6
-5.5483e-10 | -0.56
-5.1525e-10 | -0.52
-4.7492e-10 | -0.48
-4.3577e-10 | -0.44
-3.9508e-10 | -0.4
-3.5572e-10 | -0.36
-3.1603e-10 | -0.32
-2.7656e-10 | -0.28
-2.3711e-10 | -0.24
-1.9766e-10 | -0.2
-1.5795e-10 | -0.16
-1.1843e-10 | -0.12
-7.8976e-11 | -0.08
-3.9393e-11 | -0.04
7.7128e-14 | 0
3.9091e-11 | 0.04
7.75e-11 | 0.08
1.1806e-10 | 0.12
1.58e-10 | 0.16
1.9778e-10 | 0.2
2.3732e-10 | 0.24
2.7687e-10 | 0.28
3.1647e-10 | 0.32
3.5595e-10 | 0.36
3.9534e-10 | 0.4
4.3489e-10 | 0.44
4.7446e-10 | 0.48
5.1585e-10 | 0.52
5.5348e-10 | 0.56
5.9285e-10 | 0.6
6.3279e-10 | 0.64
6.7218e-10 | 0.68
7.1129e-10 | 0.72
7.5092e-10 | 0.76
7.9105e-10 | 0.8
8.3028e-10 | 0.84
8.6949e-10 | 0.88
9.0933e-10 | 0.92
9.4888e-10 | 0.96
9.8823e-10 | 1

## Settings
Test Name | res2t#1@1
Mode | Sweeping
Speed | Normal
Sweep Delay | 0
Hold Time | 0
Site Coordinate | 0,0
Last Executed | 04/23/2001 18:05:02
Device Terminal | B | A
Instrument | SMU2 | SMU1
Name | BV | AV
Forcing Function | Voltage Bias | Voltage Sweep
Master/Slave | N/A | Master
Start/Level | 0 | -1
Stop | N/A | 1
Step | N/A | 0.04
Number of Points | 0 | 51
Compliance | 0.1 | 0.1
Measure I | No | Measured
Measure V | No | Programmed
Range I | Limited Auto=100pA | Limited Auto=10pA
Range V | Best Fixed | Best Fixed
Formulas
RES = AVG(AV/AI)