Required Equipment:

4200-SCS with the following:

2, 4200-SMU

2, 4210-SMU (4200-SMUs will also work if you are not measuring high current, >100mA.)

4, 4200-PA (mounted on the rear panel of the 4200-SCS)

4, 2-meter PreAmp triax cables

1, 8006 test fixture and connecting wires

1, n-channel, 4 terminal MOSFET (Temic SD210DE)

1, NPN type BJT (2N3904)

1, 1Gohm resistor

1, Diode (1N970B)

1, 10 pF Ceramic capacitor

Description:

The tests in this project are intended to represent the most common device tests that a typical user might perform on a daily basis.    This project is shipped with each Model 4200 and will be loaded automatically when the user turns the system on for the first time.    MOSFET, BJT, diode, resistor, and capacitor tests are all included.    Most of the key features of KTE Interactive such as the linear and nested sweep capability are utilized in some way by the various tests in this project. The projects test parameters are written for standard discrete parts and are easily modifiable for use with devices on a semiconductor wafer.