## Sheet1
Acterna/W&G/Rohde & Scwarz, Spectrum Analyser Service Doc Index
Model | SNA-23
Freq | (100Hz) 9KHz to 26.5GHz
S/N | C-0032
Blank | intentionally left black by W&G
Page number | Description | drawing No. | Sheet | Size | Status
10 | Voltage distribution | 2101-7053.003 | 1 | A3 | Good
11 | blank
12 | Power supply/voltage distribution | 2101-7501.018/3 | 1 | A3 | Good
13 | Power supply/voltage distribution | 2101-7501.018/3 | 2 | A3 | Good
14 | Power supply/converter | 2101-7501.018/3 | 3 | A3 | Good
15 | Power supply/voltage distribution | 2101-7501.018/3 | 4 | A3 | Good
16 | Power supply block diagram | 2214-7501.013/3 | 1 | A3 | Good
17 | Power supply block diagram | 2214-7501.013/3 | 2 | A3 | Good
18 | Power supply, CG44, LP A, low power | 2214-7502.012/3 | 1 | A3 | Good
19 | Power supply, CG44, LP A, low power | 2214-7502.012/3 | 2 | A3 | Good
20 | Power supply, CG44, LP A, low power | 2214-7502.012/3 | 3 | A3 | Good
21 | Power supply, CG44, LP A, low power | 2214-7502.012/3 | 4 | A3 | Good
22 | Power supply, CG44, LP B, low power | 2214-7502.011/3 | 0 | A3 | Good
23 | Power supply, CG44, LP B, low power | 2214-7502.011/3 | 1 | A3 | Good
24 | Power supply, CG44, LP B, low power | 2214-7502.011/3 | 3 | A3 | Good
25 | Power supply, CG44, LP B, low power | 2214-7502.011/3 | 5 | A3 | Good
26 | Power supply, CG44, LP C, low power | 2214-7002.004/3 | 0 | A3 | Good
27 | Power supply, CG44, LP C, low power | 2214-7504.010/3 | 1 | A3 | Good
28 | Power supply, CG44, LP D, low power | 2214-7003.003/3 | 0 | A3 | Good
29 | Power supply, CG44, LP D, low power | 2214-7505.019/3 | 1 | A3 | Good
30 | Power supply, CG44, LP E, AC | 2214-7004.002/3 | 0 | A3 | Good
31 | blank
32 | Power supply, CG44, LP E, AC | 2214-7506.018/3 | 0 | A3 | Good
33 | Power supply, CG44, LP E, AC | 2214-7506.018/3 | 5 | A3 | Good
34 | Power supply, CG44, LP F, AC | 2214-7005.001/4 | 0 | A3 | Good
35 | Power supply, CG44, LP F, AC | 2214-7507.017/3 | 1 | A3 | Good
4-3 | Block diagram/frequency conversion | 2101-7500.064/3 | 1 | A3 | Good
4-4 | Block diagram/frequency conversion | 2101-7500.514/3 | 1 | A3 | Good
4-5 | blank
4-6 | blank
4-7 | Block diagram/frequency conversion | 2101-7500.514/3 | 1 | A3 | Good
4-8 | blank
4-9 | blank
4-10 | Band 0 frequency conversion/microwave | 2101-7502.402/3 | 1 | A3 | Good
4-11 | blank
4-12 | Integrated band 0 control | 2101-7080.005 | 0 | A3 | Good
4-13 | Band 0 frequency conversion/control | 2101-7502.208/3 | 1 | A3 | Good
4-14 | blank
4-15 | Band 0 frequency conversion/control | 2101-7502.208/3 | 2 | A3 | Good
4-16 | Intergr.BD0 control | 2101-7105.003 | 0 | A3 | Good
4-17 | blank
4-18 | Band 0 frequency conversion/control | 2101-7502.211/3 | 1 | A3 | Good
4-19 | Band 0 frequency conversion/control | 2101-7502.211/3 | 2 | A3 | Good
4-20 | IF change-over switch | 2101-7040.906 | 0 | A3 | Good
4-21 | Band 0 frequency conversion/control | 2101-7502.017/3 | 1 | A3 | Good
4-22 | YIF filter control | 2101-7042.904 | 0 | A3 | Good
4-23 | blank
4-24 | blank
4-25 | blank
4-26 | blank
4-27 | blank
4-28 | YIG filter control | 2101-7503.029/3 | 1 | A3 | Good
4-29 | YIG filter control | 2101-7503.029/3 | 2 | A3 | Good
4-30 | YIG filter control | 2101-7503.029/3 | 3 | A3 | Good
4-31 | YIG filter control | 2101-7503.029/3 | 4 | A3 | Good
4-32 | Control? | 2101-7045.901 | 0 | A3 | Good
4-33 | Fundamental mixer/control | 2101-7504.015/3 | 1 | A3 | Good
4-34 | Fundamental mixer/control | 2101-7504.015/3 | 2 | A3 | Good
4-35 | Fundamental mixer/control | 2101-7504.015/3 | 3 | A3 | Good
4-36 | Input selection control | 2101-7041.002 | 0 | A3 | Good
4-37 | blank
4-38 | blank
4-39 | blank
4-40 | Input selection control | 2101-7041.905 | 0 | A3 | Good
4-41 | Input selection control | 2101-7505.027/3 | 1 | A3 | Good
4-42 | Input selection control | 2101-7505.027/3 | 2 | A3 | Good
4-43 | Input selection control | 2101-7505.027/3 | 3 | A3 | Good
4-44 | 422/22MHz conversion | 2101-7022.005 | 0 | A3 | Good
4-45 | blank
4-46 | Conversion/carrier generator | 2101-7506.013/3 | 1 | A3 | Good
4-47 | Conversion/mixer | 2101-7506.013/3 | 2 | A3 | Good
4-48 | Conversion/current supply | 2101-7506.013/3 | 3 | A3 | Good
4-49 | Conversion | 2101-7506.013/3 | 4 | A3 | Good
4-50 | Conversion 422MHz-10KHz | 2101-7023.004 | 0 | A3 | Good
4-51 | blank
4-52 | blank
4-53 | blank
4-54 | blank
4-55 | blank
4-56 | Conversion 422MHz-10KHz | 2101-7023.004 | 0 | A3 | Good
4-57 | Conversion 422MHz-10KHz | 2101-7023.004 | 1 | A3 | Good
4-58 | Conversion 422MHz-10KHz | 2101-7023.004 | 2 | A3 | Good
4-59 | Conversion 422MHz-10KHz | 2101-7023.004 | 4 | A3 | Good
4-60 | Conversion 422MHz-10KHz | 2101-7023.004 | 5 | A3 | Good
7-1 | Block circuit digaram/control | 2101-7500.213/3 | 1 | A3 | Good
7-2 | Control Interface | 2101-7099.009 | 1 | A3 | Good
7-3 | blank
7-4 | control interface | 2101-7516.029/3 | 1 | A3 | Good
7-5 | control interface | 2101-7516.029/3 | 2 | A3 | Good
7-6 | control interface | 2101-7516.029/3 | 3 | A3 | Good
7-7 | control interface | 2101-7516.029/3 | 4 | A3 | Good
7-8 | control interface | 2101-7516.029/3 | 5 | A3 | Good
7-9 | control interface | 2101-7516.029/3 | 6 | A3 | Good
7-10 | control interface | 2101-7516.029/3 | 7 | A3 | Good
7-11 | blank
7-12 | Keyboard control | 2101-7035.005 | 1 | A3 | Good
7-13 | blank
7-14 | Keyboard controller | 2101-7519.013/3 | 1 | A3 | Good
7-15 | Keyboard controller | 2101-7519.013/3 | 2 | A3 | Good
7-16 | Keyboard controller | 2101-7519.013/3 | 3 | A3 | Good
7-17 | Keyboard controller | 2101-7519.013/3 | 4 | A3 | Good
7-18 | Input keyboard | 2101-7033-007 | 1 | A3 | Good
7-19 | Input keyboard | 2101-7033-007 | 1 | A3 | Good
7-20 | Input keyboard | 2101-7520.015/3 | 2 | A3 | Good
7-21 | Input keyboard | 2101-7520.015/3 | 3 | A3 | Good
7-22 | Rotary knob | 2101-7034.006 | 1 | A3 | Good
7-23 | blank
7-24 | Rotary knob | 2101-7521.011/3 | 1 | A3 | Good
7-25 | Rotary knob | 2101-7521.011/3 | 2 | A3 | Good
7-26 | Rotary knob | 2101-7521.011/3 | 3 | A3 | Good
7-27 | Rotary knob | 2101-7521.011/3 | 4 | A3 | Good
8-2 | Simplified block diagram Synthesizer | 2101-7500.255/3 | 1 | A3 | Good
8-3 | block diagram Synthesizer control | 2101-7500.307/3 | 1 | A3 | Good
8-4 | Time base, YTO driver | 2101-7001.000 | 0 | A3 | Good
8-5 | blank
8-6 | Time base/YTO driver | 2101-7550.014/3 | 1 | A3 | Good
8-7 | Time base/YTO driver | 2101-7550.014/3 | 2 | A3 | Good
8-8 | Time base/YTO driver | 2101-7550.014/3 | 3 | A3 | Good
8-9 | Time base/YTO driver | 2101-7550.014/3 | 4 | A3 | Good
8-10 | Time base/YTO driver | 2101-7550.014/3 | 5 | A3 | Good
8-11 | Time base/YTO driver | 2101-7550.014/3 | 6 | A3 | Good
8-12 | Time base/YTO driver | 2101-7550.014/3 | 7 | A3 | Good
8-13 | Time base/YTO driver | 2101-7550.014/3 | 8 | A3 | Good
8-14 | TBA | TBA | TBA | A3 | Good
8-15 | blank
8-16 | blank
8-17 | blank
8-18 | blank
8-19 | blank
8-20 | Synthesizer control | 2101-7551.026/3 | 1 | A3 | Good
8-21 | Synthesizer control | 2101-7551.026/3 | 2 | A3 | Good
8-22 | Synthesizer control | 2101-7551.026/3 | 3 | A3 | Good
8-23 | Synthesizer control | 2101-7551.026/3 | 4 | A3 | Good
8-24 | Synthesizer control | 2101-7551.026/3 | 5 | A3 | Good
8-25 | blank
8-26 | Sync divider/phasemeter | 2101-7009.002 | 0 | A3 | Good
8-27
8-28 | Sync. Divider/PH-meter | 2101-7552.012/3 | 1 | A3 | Good
8-29 | Sync. Divider/PH-meter | 2101-7552.012/3 | 2 | A3 | Good
8-30 | SHF-prescaler | 2101-7553.011/3 | 1 | A3 | Good